# TECHNICAL REQUIREMENTS AND SPECIFICATIONS

# FOR PROTECTIVE COATING OF CONCRETE/MASONRY

# POTABLE WATER TANKS, STRUCTURES, LARGE DIAMETER PIPELINE

# FOREWORD

This specification covers work, materials and equipment required for protecting and/or rehabilitating concrete structures by monolithic spray-application of a solvent-free, high-build epoxy coating to eliminate infiltration / exfiltration, provide corrosion protection, repair damaged surfaces and enhance structural integrity. Procedures for surface preparation, cleaning, application and testing are described.

# PART 1  GENERAL

# 1.1	SECTION INCLUDES

    - Solvent-free epoxy coating to be applied to specified surfaces and conforms to the requirements set forth below.

    - This specification covers all labor, materials, equipment, and services necessary to complete the installation of corrosion protection for concrete and masonry structures as herein specified.

    - Related Sections:  Concrete Repair, Environmental, Health and Safety

# 1.2	REFERENCES

- ASTM C109 - Standard Test Method for Compressive Strength of Hydraulic Cement Mortars

- ASTM C293 - Standard Test Method for Flexural Strength of Concrete

- ASTM C496 - Standard Test Method for Splitting Tensile Strength

- ASTM C579 - Standard Test Methods for Compressive Strength of Chemical-Resistant Mortars, Grouts, Monolithic Surfacing’s, and Polymer Concretes

- ASTM C580 - Standard Test Method for Flexural Strength and Modulus of Elasticity of Chemical-Resistant Mortars, Grouts, Monolithic Surfacing’s, and Polymer Concretes

- ASTM C596 - Standard Test Method for Drying Shrinkage of Mortar Containing Hydraulic Cement

- ASTM C666 - Standard Test Method for Resistance  of  Concrete  to  Rapid  Freezing and  Thawing

- ASTM C882 - Standard Test Method for Bond Strength

- ASTM D543 - Resistance of Plastics to Chemical Reagents

- ASTM D638 - Tensile Properties of Plastics

- ASTM D695 - Compressive Properties of Rigid Plastics

- ASTM D790 - Flexural Properties of Unreinforced and Reinforced       Plastics

- ASTM D2240 - Durometer Hardness, Type D

- ASTM D4541 - Pull-off Strength of Coatings Using a Portable Adhesion Tester

- ASTM D7234-12 Standard Test Method for Pull-Off Adhesion Strength of Coatings on Concrete Using Portable Pull-Off Adhesion Testers

- ASTM - the published standards and test methods of the American Society  for Testing and Materials, West Conshohocken, PA.

- NSF/ANSI Standard 61- Drinking  Water System Components.

- NACE - the published standards of National Association of Corrosion Engineers (NACE International), Houston, TX.

- SSPC - the published standards of the Society of Protective Coatings, Pittsburgh, PA.

# 1.3	SUBMITTALS

A.	The following items shall be submitted:

      - Technical data sheet on each product used, including ASTM test results indicating the product conforms to and is suitable for its intended use per these specifications.

      - Material Safety Data Sheets (MSDS) for each product used.

      - Project specific guidelines and recommendations.

      - Applicator Qualifications:

        - Manufacturer certification that the Applicator has been trained in the handling, mixing and application of the products to be used.

        - Certification that the equipment to be used for applying the products has been approved by the protective coating manufacturer and Applicator personnel have been trained and certified for proper use of the equipment..

        - Written document providing three (3) years experience and five (5) recent references of Applicator indicating successful application of a 100% solids high-build solvent-free coating by spray application.

        - Applicator must provide written documentation of having                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                        installed a minimum of 50,000 square feet of plural component spray applied epoxy coating the same or similar to that specified within the last two (2) years.

        - Proof of any necessary federal, state or local permits or licenses necessary for the project.

# 1.4	QUALITY ASSURANCE

    - Coating and repair product(s) shall be capable of being installed and curing properly within the specified environment(s

    - Coating product(s) shall be resistant to all forms of chemical or bacteriological attack found.

    - Coating and Repair product(s) shall be fully compatible; including ability to bond effectively (as tested for in Section 3.5 C.) to each other and/or the host substrate, forming a composite system.

    - Contractor shall utilize equipment for the application of the coating and repair product(s) which has been approved by the product manufacturer; and Contractor shall have received training on the operation and maintenance of said equipment from the product manufacturer.  Written certification of such approval(s) and training shall be submitted by the coating and repair product manufacturer(s).

    - Contractor and contractor personnel shall be certified by, or have their training approved and certified by, the coating and repair product(s) manufacturer(s) for the handling, mixing, application and inspection of the product(s) to be used as specified herein.  Written certification of such training shall be submitted by the coating and repair product manufacturer(s) and shall include the individual contractor personnel to be employed on the project.

    - Inspectors shall be trained in the use of testing or inspection instrumentation and knowledgeable of the proper use, preparation and installation of the product(s) to be used as specified herein.

    - Contractor shall initiate and enforce quality control procedures consistent with the coating product(s) manufacturer recommendations and applicable NACE, SSPC, ICRI or other standards as referenced herein.

    - Pre-construction meeting shall take place no less than two weeks prior to Contractor mobilization.  All parties to have physical presence on the project during construction shall be present.  At this meeting responsibilities and authorities during construction shall be discerned; comments and questions regarding materials and execution of these specifications shall be presented and addressed.

# 1.5	DELIVERY, STORAGE, AND HANDLING

- Materials are to be kept dry, protected from weather and stored under cover.

B.	Protective coating materials are to be stored between 50 and 90 deg F.   Do not store near flame, heat or strong oxidants.

C.	Protective coating materials are to be handled according to their material safety data sheets.

# 1.6	SITE CONDITIONS

- Contractor shall conform to all local, state, and federal regulations including those set forth by OSHA, RCRA and the EPA and any other applicable authorities.

- Confined space entry program and other required safety training certifications shall be submitted by Contractor to Owner as necessary to perform the specified work.

- Flow diversion and/or bypass plans shall be submitted by Contractor to Owner as necessary to perform the specified work.

# 1.7	WARRANTY

A.	Applicator shall warrant all work against defects in materials and workmanship for a period of one (1) year, unless otherwise noted, from the date of final acceptance of the project.  Applicator shall, within a reasonable time after receipt of written notice thereof, make good defects in materials or workmanship which may develop during said one (1) year period, and any damage to other work caused by such defects or the repairing of same, at his own expense and without cost to the Owner.

# PART 2  PRODUCTS

# 2.1	EXISTING PRODUCTS

- Standard Portland concrete or new concrete (for quick setting high strength cement see manufacturer’s recommendations) must be well cured prior to application of the protective coating.  Generally, 28 days is the minimum cure time for standard Portland concrete or when 80% of its designed concrete strength has been achieved (see Raven 1010.2014 CATB for coating green concrete).

- Cementitious patching and repair materials must be approved prior to use as being compatible with the epoxy coating.  The manufacturer of the cementitious material shall provide information as to its suitability for topcoating with an epoxy coating.  Project specific submittals and  procedures should be provided to Owner including application, cure time and surface preparation procedures which permit optimum bond strength with the epoxy coating.

C.	Remove existing coatings prior to application of the new protective coating.  Applicator is to maintain strict adherence to applicable NACE and SSPC recommendations with regard to proper surface preparation and compatibility with existing coatings.

2.2	MANUFACTURER

A.	Raven Lining Systems, Broken Arrow, Oklahoma  800-324-2810 or 918-615-0020 or FAX 918-615-0140.

# 2.3	REPAIR MATERIALS

- Repair materials shall be used to fill voids, structurally reinforce and/or rebuild surfaces, etc. as determined necessary to produce a relatively smooth surface prior to the application of the epoxy coating.  Repair materials must be compatible with the specified epoxy coating and shall be applied in accordance with the  manufacturer’s recommendations.

      - Repair materials must be supplied by the coating product(s) manufacturer or be an approved equal product.

      - In order for a product to be considered an approved equal the submitted product must meet or exceed the minimum characteristics as measured by the applicable standards referenced in paragraphs 2.03 and on the Technical Data Sheets of the approved products. Also be approved by the coating product(s) manufacturer in writing for compatibility with the specified coating product(s).

      - All materials shall be mixed, applied, and cured in accordance with the manufacturer’s recommendations.

      - Repair product physical properties shall be substantiated through submittal of accredited third party testing results and shall be representative of the actual field applied product and cure mechanism(s) to be employed in the field.

    - 100% solids, solvent-free epoxy grout; specifically the specified coating product(s) (Section 2.4 C or D.)

- Factory blended, rapid setting, high-early strength, non-shrink, calcium aluminate repair mortar to be trowel or pneumatically spray applied to the entire surface.

      - Manufacturer: Raven Lining Systems, Broken Arrow, Oklahoma 800-324-2810 or 918-615-0140 fax.

      - Product: Raven 705CA - Cement Mortar having the following characteristics:

- Product Type: Calcium aluminate mortar

- Tensile Strength, (ASTM C496):>685 psi

- Compressive Strength, (ASTM C109): >9200 psi @ 28 days

- Flexural Strength, (ASTM C293): >1650 psi

- Shrinkage @ 90% R. H. (ASTM C596): 0%

- Adhesion to Concrete, (ASTM C882): >4000 psi

- Freeze/Thaw (ASTM C666): 100 Cycles, no visible damage

- Density of wet mix: 129 – 139 lbs./ft3

- Applied Density: 135 lbs./ft3 (+/- 5 lbs. /ft3)

    - Factory blended, rapid setting, high-early strength, non-shrink, Portland cementitious repair mortar to be trowel or pneumatically spray applied to the entire surface.

      - Manufacturer: Raven Lining Systems, Broken Arrow, Oklahoma 800-324-2810 or 918-615-0140 fax.

      - Product: Raven 755 - Cement Mortar having the following characteristics:

        - Product Type: Portland cement mortar

        - Tensile Strength, (ASTM C496):>800 psi

        - Compressive Strength, (ASTM C109): >9,000 psi @ 28 days

        - Flexural Strength, (ASTM C293): >1500 psi

        - Shrinkage @ 90% R. H. (ASTM C596): 0%

        - Adhesion to Concrete, (ASTM C882): >2000 psi

        - Freeze/Thaw (ASTM C666): 100 Cycles, no visible damage

    - Factory blended, High Performance Polymer Cement repair mortar to be spray, trowel or otherwise manually applied to the entire surface.

      - Manufacturer: Raven Lining Systems, Broken Arrow, Oklahoma 800-324-2810 or 918-615-0140 fax.

      - Product: Raven 760HPPC – Polymer Cement Mortar having the following characteristics:

        - Product Type: Polymer Cement Mortar

        - Tensile Strength, (ASTM C496):>700 psi

        - Compressive Strength, (ASTM C109): >5120 psi @ 28 days

        - Compressive Strength, (ASTM C579): >5210 psi @ 28 days

        - Flexural Strength, psi (ASTM C580): >1240 psi

        - Shrinkage @ 90% R. H.(ASTM C596): 0%

        - Adhesion to Concrete, (ASTM D7234): >200 psi

    - Factory blended, non-shrink, hydraulic cement to be used for infiltration remediation.

      - Manufacturer: As applicable

      - Product: Hydraulic cement having the following characteristics:

        - Product Type: Hydraulic cement

        - Compressive Strength, (ASTM C109): >1,000 psi @ 1 hour, >2500 psi @ 24 hours

        - Shrinkage @ 90% R. H., % (ASTM C596): 0%

    - Hydrophobic or Hydrophilic injectable chemical grout to be used for the remediation of high volume infiltration or crack repair and/or soil stabilization and void filling.

      - Manufacturer: As applicable

      - Product: Chemical grout as appropriate for infiltration, crack repair and soil stabilization.

    - (OPTIONAL) Inlayed into the protective coating material. Fiberglass woven roving cloth using E-Glass, 9 oz/yd2 minimum weight; typical of Hexcel or BFG Industries style #7500.

# PROTECTIVE COATING MATERIAL

- Coating products shall be applied to all interior surfaces to protect the host substrate and repair materials that are free of structural movement from all forms of chemical attack and to impart a degree of structural enhancement.

- Coating product physical properties shall be substantiated through submittal of accredited third party testing results and shall be representative of the actual field applied product and cure mechanism(s) to be employed in the field

- Epoxy coating system - 100% solids, solvent-free two-component epoxy, certified to meet the requirements of NSF/ANSI Standard 61 - Drinking  Water System Components.

  - Manufacturer: Raven Lining Systems, Broken Arrow, Oklahoma 800-324-2810 or 918-615-0140 fax.

  - Product: AquataPoxy A-6 Thick

    - Product type			Amine cured epoxy

    - Color				White

    - Solids Content (vol %)	100

    - Mix Ratio			1:1

    - Hardness, Shore D (ASTM D2240):>87

    - Compressive Strength, (ASTM D695):>10,000 psi

    - Tensile Strength, (ASTM C638):>6,000 psi

    - Flexural Strength, (ASTM D790):>9,400 psi

    - Adhesion to Concrete, (ASTM C7234): Substrate Failure

    - VOC’S 0.0 lbs/gal

- Epoxy coating system - 100% solids, solvent-free two-component epoxy, certified to meet the requirements of NSF/ANSI Standard 61 - Drinking  Water System Components.

  - Manufacturer: Raven Lining Systems, Broken Arrow, Oklahoma 800-324-2810 or 918-615-0140 fax.

  - Product: AquataPoxy A-61

    - Product type			Amine cured epoxy

    - Color				Aqua, or White

    - Solids Content (vol %)	100

    - Mix Ratio			3:1

    - Hardness, Shore D (ASTM D2240):>88

    - Compressive Strength, (ASTM D695):>16,600 psi

    - Tensile Strength, (ASTM C638):>7,700 psi

    - Flexural Strength, (ASTM D790):>10,600 psi

    - Adhesion to Concrete, (ASTM C7234): Substrate Failure

    - VOC’S 0.0 lbs/gal

    - (OPTIONAL) Coating product primer to be applied as recommended by the coating product manufacturer as installation conditions warrant.

      - Manufacturer: Raven Lining Systems, Broken Arrow, Oklahoma 800-324-2810 or 918-615-0140 fax.

      - Product: Raven 171 – 100% solids epoxy primer

        - Product Type:  amine cured, epoxy primer

      - Product: Raven 171FS – 100% solids epoxy primer

        - Product Type:  amine cured, epoxy primer

      - Product:  Raven 155 – Water borne epoxy primer

        - Product Type:  amine cured, waterborne epoxy primer

# 2.5	PROTECTIVE COATING APPLICATION EQUIPMENT

- Cementitious repair products may be mixed and applied using hand and/or power tools

- Cementitious repair products to be spray applied shall be mixed and applied using manufacturer approved batch mixing and low velocity spray devices.

- Coating product primer may be applied using hand tools or other convention/airless spray application device(s).

- Coating product to be spray applied shall be mixed and applied using manufacturer approved heated plural component spray equipment.

- Coating product application to hard to reach areas or for touch-up may be performed using hand tools.

# PART 3  EXECUTION

3.2	EXAMINATION

A.	All structures to be coated shall be readily accessible to Applicator.

B.	Appropriate actions shall be taken to comply with local, state and federal regulatory and other applicable agencies or client specific policies with regard to environment, health and safety.

- Any active flows shall be locked-out, plugged or diverted as required to ensure that the liquid flow is maintained below the surfaces to be coated.  Any equipment shall be locked-out according to site safety and OSHA requirements.

- Infiltration shall be stopped by using a material which is compatible with repair materials and is suitable for topcoating with the specified epoxy coating. Infiltration areas that require crack injection shall not be covered in this scope of work.

- Installation of the protective coating shall not commence until the concrete substrate has properly cured and been prepared in accordance with these specifications.

- Temperature of the surface to be coated should be maintained between  50 deg F and 120 deg F during application. Prior to and during application, care should be taken to avoid exposure of direct sunlight or other intense heat source to the structure being coated.  Where varying surface temperatures do exist, care should be taken to apply the coating when the surface temperature is falling versus rising.

3.3	REPAIRS AND SURFACE PREPARATION

    - Excessive debris, sediment, root intrusion or other foreign materials which may impact the effectiveness of the surface preparation process shall be removed prior to the commencement thereof.

    - Offset structural components, lids, covers, frames, etc. shall be repaired, replaced, or reset prior to the commencement of surface preparation.

    - External soil/fill voids shall be remediated and/or stabilized by replacement or injection of stabilizing grout as determined appropriate by the engineer.

    - Oils, grease, incompatible existing coatings, waxes, form release, curing compounds, efflorescence, sealers, salts, or other contaminants which may affect the performance and adhesion of the coating to the substrate shall be removed in accordance with SSPC-SP 1 – Solvent Cleaning.

    - Choice of surface preparation method(s) should be based upon the condition of the structure and concrete or masonry surface, potential contaminants present, access to perform work, and the required cleanliness and profile of the prepared surface to receive the repair and/or coating product(s).

    - Surface preparation method, or combination of methods, that may be used include high-pressure water cleaning, water jetting, abrasive blasting, shot blasting, grinding, scarifying, detergent water cleaning, hot water cleaning and others as referenced in industry accepted standards such as:

      - SSPC SP-13/NACE No. 6  Surface Preparation of Concrete,

      - ASTM D4258 Standard Practice for Surface Cleaning Concrete for Coating and ASTM-D4259 Standard Practice for Abrading Concrete,

      - ICRI Technical Guideline No. 03732 Selecting and Specifying Concrete Surface Preparation for Sealers, Coatings, and Polymer Overlays.

      - NACE/SSPC Standards for the surface preparation of steel.

    - Whichever method(s) are used, they shall be performed in a manner that provides a uniform, sound, clean, and neutralized surface suitable for the specified coating product(s).

      - Resulting surface profile of the prepared concrete substrate shall be (as described in ICRI Technical Guideline No. 03732):

        - For application of cementitious materials; at least a CSP5

        - For application of coating products: at least a CSP4.

      - Concrete and/or mortar damaged by corrosion, chemical attack or other means of degradation shall be removed so that sound substrate remains,

        - In conditions where severe chemical attack is present the prepared substrate shall exhibit a pH of 8-12.  Additional cleaning and/or contaminated substrate removal may be required to achieve the specified pH level.

      - Steel surfaces to be coated shall be abrasive blast cleaned.

        - Blast air shall be free of oil and water.

        - Abrasive shall be as required to produce the specified level of cleanliness and profile in an efficient and uniform manner.  Abrasive shall not be recycled.

        - Abrasive blasting shall not be performed when the air or steel temperature is below 40 °F, when the relative humidity exceeds 80%, or when the steel is less than 5 °F warmer than the dew point.  The Contractor will provide dehumidification, and/or temperature control as necessary to meet these conditions.

        - Blast cleaning shall be in accordance with SSPC-SP 5, White Metal Blast Cleaning for immersion service of the coated areas.  Blast cleaning for other surfaces shall be in accordance with SSPC-SP 10, Near White Blast Cleaning.  Anchor profile shall be 2.5-5.0 mils and relative to the coating thickness specified.

        - Alternatively, surfaces to be recoated may be cleaned according to SSPC-SP 12/NACE No. 5 Surface Preparation and Cleaning of Metals by Water jetting prior to Recoating.

- Preparation shall be to SSPC-SP 12, WJ-1, and Clean to Bare Substrate using a minimum of High-Pressure Water Jetting (10,000-30,000 psi).

- Water jetting does not produce a profile of the magnitude currently recognized by the coatings industry.  Rather, it exposes the original abrasive-blasted surface profile if one exists.  An anchor profile of at least 2.5 mils is required to be exposed.  If sufficient profile does not exist, abrasive blasting shall be performed as specified in section 3.2 D.

- At the time of the recoating, the amount of flash rust shall be no greater than “No Flash Rust” as defined in SSPC-SP 12.

- If inhibitors are to be used with the standard jetting water, the coatings manufacturer shall be consulted to ensure the compatibility of inhibitors with the coatings.

    - Prior to the application of the coating product repairs shall be completed to ensure the following:

      - All inflow and infiltration shall be eliminated by use of appropriate repair material(s), such as hydraulic cements and/or chemical grouts as described in Section 2.2.

      - All repairs to joints, pipe seals, steps, mechanical penetrations, benches, inverts, pipes or other appurtenances to be coated shall be completed and repaired surfaces prepared according to this section.

        - Inverts or flow channels shall be smooth without lips, rough edges and contoured to minimize turbulent flow; and be sloped to promote adequate flow from the inlet(s) to the outlet pipe.

        - All joints, pipe seals, steps or other penetrations shall be sealed against inflow, infiltration and exfiltration and be adequately filled, smoothed and contoured to promote monolithic coating application.

    - Areas where reinforcing steel has been exposed shall be repaired in accordance with the Project Engineer’s recommendations or at the minimum all exposed steel shall be prepared in accordance with Section 3.2 prior to coating with the coating product specified or other approved primer as specified by the coating product manufacturer.

  - APPLICATION OF REPAIR AND RESURFACING PRODUCTS

  - Repair products as per section 2.3 C, D, shall be used to repair, smooth or rebuild surfaces with rough profiles to provide a concrete or masonry substrate suitable for the coating product(s) to be applied.  These products shall be installed to 1/2” minimum thickness or as recommended within manufacturers published guidelines.  Should structural rebuild be necessary, these products shall be installed to a thickness as specified by the Project Engineer

  - Repair products as per section 2.3 E shall be used to fill voids, bug holes, and other surface defects which may affect the performance or adhesion of the coating product(s). These products shall be installed to 1/16” minimum thickness to 1/4”or as recommended within manufacturers published guidelines.

  - Repair products as per section 2.3 F and/or G shall be used to remediate all active inflow, infiltration, and/or external soil/fill voids.

  - All Repair products shall be handled, mixed, installed, and cured in accordance with manufacturer guidelines.

  - All repaired or resurfaced substrates shall be inspected for cleanliness and suitability to receive the coating product(s).  Additional surface preparation may be required prior to coating application as per section 3.2.

  - (OPTIONAL) Fiberglass woven roving cloth may be rolled into the coating for added tensile and flexural strength where desired and/or required.

    - A tack coat of a minimum of 20-30 mils shall be applied and allowed to cure to a tack free state, followed by and additional coat of 20-30 mils of coating into which the fiberglass matte shall be inlayed and rolled while wet, an additional 50-60 mil coat minimum shall be applied over the fiberglass inlay as part of the overall coating application.

    - Fiberglass matte shall be woven roving cloth with an approximate weight of 9 oz/yd2.  Fiberglass matte shall be rolled into the epoxy tack coat(s) using a notched roller fully relieving trapped air and wrinkles.  The final topcoat shall encapsulate all fiberglass strands.  Care should be taken to ensure adequate cure time between applications above 100 mils to relieve exothermic heat in order to avoid thermal degradation of the coating.

3.5	APPLICATION OF PROTECTIVE COATING

- Application procedures shall conform to the recommendations of the protective coating manufacturer, including material handling, mixing, environmental controls during application, safety, and spray equipment.

B.	Before spraying all surfaces with the epoxy coating, grooves, rough areas, difficult-to-spray areas, and repair areas as specified shall be striped with the specified epoxy coating to a nominal 10 mil thickness or greater as necessary to provide proper topcoating and protective coverage.  Striping can be accomplished by spray application in accessible areas; and, hand-mixing product or spray followed by scrub-striping with a good-quality bristle brush in difficult-to-spray areas.

C.	The spray equipment shall be specifically designed to accurately ratio and apply the specified protective coating materials in accordance with coating manufacturer’s requirements and shall be regularly maintained and in proper working order.

D.	The protective coating material must be spray applied by a Certified Applicator of the protective coating manufacturer.

- Specified surfaces shall be coated with AquataPoxy A-6 Thick or Aquatapoxy A-61 epoxy to achieve a minimum dry film thickness of 60-80mils for new concrete with surface profiles of CSP4 to CSP5, 80-120mils for new or rehablilitated concrete with surface profiles of CSP6 or greater.

  - Each coat of the A-6 Thick protective coating should occur as soon as the basecoat becomes tack free, but no later than the recoat window. Additional surface preparation procedures will be required if this recoat window is exceeded.

  - A-61 protective coating should be applied to the desirerd mil thickness in one coat. Additional surface preparation procedures will be required if  additional appliactions are required.

    - See coating manufacture for mil thickness recommendations to ground water head pressure.

    - (Pipeline only) Coating product(s) shall interface with adjoining construction materials throughout the pipeline to effectively seal and protect concrete or masonry substrates from infiltration and attack by corrosive elements.  Procedures and materials necessary to effect this interface shall be as recommended by the coating product(s) manufacturer.

    - (Pipeline only) Termination points of the coating product(s) shall be made at each manhole joint, 1” below normal flow levels (when less than 360o coating application is being specified), and a minimum of 1” interfacing with each pipe penetration.  When less than 360o of the pipe is to be coated, the coating shall be terminated at a saw cut key-in within the pipe.

    - Surfaces not to receive the coating shall be masked or otherwise protected to prevent overspray or feathering of the coating termination.

I.	Disinfect water contact surfaces in accordance with AWWA C 652 or as directed by the Project Engineer after the coating has cured for 3 days and field inspection and testing has been completed.

3.6	TESTING AND INSPECTION OF PROTECTIVE COATING

A.	During application a wet film thickness gauge meeting ASTM D4414 - Standard Practice for Measurement of Wet Film Thickness of Organic Coatings by Notched Gages, shall be used to ensure a monolithic coating and uniform thickness during application.

B.	After the protective coating has set hard to the touch it shall be inspected with high-voltage holiday detection equipment.  The spark tester shall be initially set at 100 volts per 1 mil (25 microns) of film thickness applied but may be adjusted as necessary to detect the induced holiday (refer to NACE RPO188-99).  All detected holidays shall be marked and repaired by abrading the coating surface with abrasive paper or brush blast.  After abrading, additional protective coating material can be hand applied to the repair area, but should not be applied beyond the abraded area.  All touch-up/repair procedures shall follow the protective coating manufacturer's recommendations.

C.	A final visual inspection shall be made by the Inspector and Applicator.  Any deficiencies in the finished coating shall be marked and repaired according to the procedures set forth herein by Applicator.

D.	Include when required for potable water storage or distribution structures. The coated surfaces shall be throughly washed and disinfected in accordance with the current AWWA Standard C652.  The owner shall approve the method of disinfecting.  The Applicator shall provide all disinfectant and labor to satisfactorily place the structure in service.  The Applicator shall make all arrangements with the Owner to coordinate the furnishing of water for sterilization.  The Owner will collect and run tests on representative water samples.  The tank shall not be placed in service until satisfactory bacteriological tests have been provided.

E.	If AquataPoxy A-6/A-6 Thick epoxy was the product used the system may be put back into service in 3 days at 77F in accordance with NSF/ANSI Standard 61 Certification.

G.	If AquataPoxy A-61 epoxy was the product used the system may be put back into service in 5 hours at 72F in accordance with NSF/ANSI Standard 61 Certification

# END OF SECTION